CARL SANDBURG COLLEGE

SPECIFICATIONS

Radiologic Technology Phantoms

SPECIFICATIONS

Minimum specifications for Radiologic Technology Phantoms are listed below and each bidder must state to the right of listed specifications the compliance details that pertain to the unit bid indication size, quality, and range of information as necessary to determine unit quality.  Bidder’s specifications must meet or exceed minimum specifications and must be listed in detail to be considered to be a qualified bidder.  All specifications shall meet or exceed the following specifications.

The final selection will be made on factors including price, availability, service, etc., which we feel to be in the best interest of the college.  Questions regarding these specifications should be directed to Carrie Hawkinson, Vice President of Academic Services, phone:  309-341-5360 or email chawkinson@sandburg.edu.

Radiologic Technology Phantoms 				Please note deviations and/or exceptions from

- Anatomically and Radiologically Correct

Opaque body that contains full skeleton and                          _____________________________________

abdominal organ replicas with no fill ports, including            _____________________________________

but not limited to stomach, urinary bladder and right           _____________________________________

and left kidneys. Also, lungs with a mass density similar to  _____________________________________

inflated human lungs.                                                                     ____________________________________

Designed for classroom use to demonstrate anatomy            ____________________________________

without pathology, and to evaluate varied positioning            ____________________________________

and imaging techniques. 	          ____________________________________

- Designed to image any clinical view

Realistic supine, lateral, and oblique positioning capabilities. __________________________________

All major joints including shoulders, hips, knees and              ___________________________________

elbows bend and/or rotate similar to human patients.          ___________________________________

Cervical joints that allow for full head rotation.

- Ease with maneuvering

Small size; 145-165cm long

Light weight; 40 -60kg                                                           ____________________________________

Detachable limbs and head for storage purposes.          ____________________________________

Storage case for phantom included

4.     Durable

Permits unlimited exposures to demonstrate               ____________________________________

effects of changing technical factors/positions            _____________________________________

5.     Warranty & support                                                             ____________________________________

Must be delivered to campus on or before June 16, 2023.